## Slide 1: ECE 105: Introduction to Electrical Engineering
Lecture 13
Bio 3
Yasser Khan
Rehan Kapadia

## Slide 2: Pulse oximetry
Pulse oximetry measures blood oxygenation. Using spectrophotometry of absorptivity of blood at two distinct wavelengths, blood oxygen saturation is quantified.
Can detect hypoxemia, ie. lower than normal blood oxygenation.
ECG
Pulse Ox
Respiration
Blood
Pressure
Temperature
SO2 The saturation of oxygen in blood,
CHbO2 Concentration of oxygenated hemoglobin (HbO2),
CHb Concentration of deoxygenated hemoglobin (Hb).

## Slide 3: Oxy and deoxy-hemoglobin

## Slide 4: Oxy and deoxy-hemoglobin

## Slide 5: Transmission-mode oximetry

## Slide 6: How the transmitted light is changing

## Slide 7: Oxy and de-oxy abs.

## Slide 8: Why do we need two lights

## Slide 9: Change in ratio = change in oxygenation

## Slide 10: Need for empirical calibration

## Slide 11: Data collection flow

## Slide 12: AC and DC part of the signal

## Slide 13: AC and DC part

## Slide 14: The graphs you will see in your demoboard

## Slide 15: Pulsatile signal

## Slide 16: The portion of the AC part is very small

## Slide 17: Source of drift

## Slide 18: Optical shunting – photodiode gets saturated

## Slide 19: EM noise

## Slide 20: Nail polish

## Slide 21: Transmission vs. reflectance oximetry
Transmission-mode pulse oximetry is limited only to tissues that can be transilluminated, such as the earlobes and the fingers.
If reflected light is used as the signal, the sensor can be used beyond the conventional sensing locations.
AC signal is the highest at the forehead for both Red and NIR channels.
Arms provide mid-range AC amplitude, while signal strength is low in the legs and chest area.
Forehead is the best location for reflectance pulse oximetry.

## Slide 22: Oximeter readout circuit

## Slide 23: Calculating oxygen saturation

## Slide 24: Press capture

## Slide 25: Keep your finger gently on the sensor

## Slide 26: Going back to the PPG data collected

## Slide 27: Smoothing

## Slide 28: Drift correction

## Slide 29: Peak detection

## Slide 30: Heart rate

## Slide 31: Using single component to find heart rate

## Slide 32: 4 components in the PPG signal – signal loss

## Slide 33: Taking all the components provides the original signal

## Slide 34: Ratio of the ratios

## Slide 35: SpO2 calculation