## Slide 1: ECE 105: Introduction to Electrical Engineering
Lecture 14
Sensors 2
Yasser Khan
Rehan Kapadia

## Slide 2: Wearables
Wearables include devices for communication, health, fitness tracking, etc.
Future generations of devices will have new capabilities (therapeutic, haptic, etc.)
New functionality depends on energy harvesting, conformal contact, etc.
Wireless communication essential for most important functions (interfacing to mobile devices, etc.)

## Slide 3: Vital signs
Vital signs include Heart Rate, Blood Pressure, Breathing Rate, Temperature
Attractive for daily monitoring
Combining all of these metrics is more useful for preventive care

## Slide 4: $380.5 billion by 2028 – wearables alone

## Slide 5: Different parts of a bioelectronics system

## Slide 6: Pulse oximetry
Pulse oximetry measures blood oxygenation. Using spectrophotometry of absorptivity of blood at two distinct wavelengths, blood oxygen saturation is quantified.
Can detect hypoxemia, ie. lower than normal blood oxygenation.
ECG
Pulse Ox
Respiration
Blood
Pressure
Temperature
SO2 The saturation of oxygen in blood,
CHbO2 Concentration of oxygenated hemoglobin (HbO2),
CHb Concentration of deoxygenated hemoglobin (Hb).

## Slide 8: Pulse oximetry basics

## Slide 9: Pulse oximeter basics

## Slide 10: The Beer-Lambert Law

## Slide 11: The Beer-Lambert Law

## Slide 12: Example 1

## Slide 13: Example 1

## Slide 14: Example 1

## Slide 16: Example 1

## Slide 17: Pulse oximeter basics

## Slide 18: Pulse oximeter basics

## Slide 19: Calculating oxygen saturation

## Slide 20: Oximeter readout circuit

## Slide 21: Oximeter readout circuit

## Slide 22: Oximeter readout circuit

## Slide 23: Oximeter readout circuit

## Slide 24: Oximeter readout circuit

## Slide 25: Transmission vs. reflectance oximetry
Transmission-mode pulse oximetry is limited only to tissues that can be transilluminated, such as the earlobes and the fingers.
If reflected light is used as the signal, the sensor can be used beyond the conventional sensing locations.
AC signal is the highest at the forehead for both Red and NIR channels.
Arms provide mid-range AC amplitude, while signal strength is low in the legs and chest area.
Forehead is the best location for reflectance pulse oximetry.

## Slide 26: Collect PPG signal

## Slide 27: Upload ard code

## Slide 28: Open python IDLE – open python file

## Slide 29: Open main.py

## Slide 30: Run module

## Slide 31: Type in which port – check where your Ard in connected

## Slide 32: Command – m3ppg

## Slide 33: Opens a recording window

## Slide 34: Press capture

## Slide 35: Keep your finger gently on the sensor

## Slide 36: Click save – a new file will be saved

## Slide 37: Open jupyter notebook select the new csv file – check the raw data on notebook

## Slide 38: Pulse oximeter basics

## Slide 39: Oximeter prototype

## Slide 41: AFE – MAX30102

## Slide 42: System design

## Slide 43: LEDs

## Slide 44: LED – PD spectrum

## Slide 45: Connection

## Slide 46: Connection

## Slide 47: How does the AFE work

## Slide 48: Data capture

## Slide 49: Data capture

## Slide 50: Going back to the PPG data collected

## Slide 51: Smoothing

## Slide 52: Drift correction

## Slide 53: Peak detection

## Slide 54: Heart rate

## Slide 55: Using single component to find heart rate